## DOOR SCHEDULE
MARK | GLAZING | COMMENTS | DOOR_TYPE | FRAME_TYPE | DETAIL_HEAD | DETAIL_JAMB | DETAIL_SILL | DOOR_FINISH | DOOR_SIZE_H | DOOR_SIZE_T | DOOR_SIZE_W | DOOR_GLAZING | FRAME_FINISH | DOOR_MATERIAL | FRAME_MATERIAL | FIRE_RATING_LABEL | HARDWARE_GROUP_NO
RS012 |  |  | F | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 3
RS013 |  | CREDENTIAL READER | F | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 4.3
RS014 |  |  | N | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" | 1/2" LAMINATED |  | WD | HM |  | 5.1
RS015 |  |  | N | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" | 1/2" LAMINATED |  | WD | HM |  | 6
RS016 |  |  | F | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 7
RS017A |  |  | N | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 6
RS017B |  | CREDENTIAL READER | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" | 1/2" LAMINATED |  | WD | HM | 45 MINS | 4.3
RS020A |  | CREDENTIAL READER | N1 | SS24x84 | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 1/2" LAMINATED |  | WD | HM | 45 MINS | 9.1
RS020B |  | CREDENTIAL READER | FG1 | SS24x84 | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM | 45 MINS | 9
RS021 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
RS022 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
RS023 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
RS024 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
RS025 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
RS026 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
RS027 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2/ SP-1 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE | SP-1 | WD | HM |  | 1
RS028 |  | CREDENTIAL READER | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 4.2
RS029A |  |  | FG1 | SS24x84 | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 3'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 8
RS029B |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 4.1
RS030 |  |  | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 6
RS030A |  | CREDENTIAL READER | FG1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 4
RS030B |  | CREDENTIAL READER | FG1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 4
RS030C |  |  | - | S | C1/A700 | D2/A700 |  | - | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | - | HM
RS032 |  | CREDENTIAL READER | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 3
RS033 |  |  | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 4
RS034 |  | ANTI - BARRICADE, DOOR TOP MONITOR ALARMED | F AB | AB | C1/A700 | D1/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 2
RS035 |  | ANTI - BARRICADE, DOOR TOP MONITOR ALARMED | F AB | AB | C1/A700 | D1/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 2
RS036 |  |  | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 5
RS037 |  |  | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 7
RS038 |  |  | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 5
RS040 |  |  | - | S | C1/A700 | D2/A700 |  | - | 7'-0" | 1 3/4" | 3'-0" |  |  | - | HM
F100 |  | CREDENTIAL READER | G1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM | 20 MIN, SMOKE BARRIER | 4.4
F101 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
F102 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
F103 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
F104 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
F105 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
F107A |  | CREDENTIAL READER | FG1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 10
F107B |  |  | FG1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" |  |  | WD | HM |  | 5
F108 |  | ANTI - BARRICADE, DOOR TOP MONITOR ALARMED | F AB | AB | C1/A700 | D1/A700 |  | IRWC-2 | 7'-0" | 13/4" | 3'-0" |  |  | WD | HM |  | 2
F110 |  |  | G | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" |  |  | WD | HM |  | 5
F111 |  |  | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" |  |  | WD | HM |  | 7.1
F112 |  | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-1/ SP-1 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1.1
F112A |  | CREDENTIAL READER | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" | 1/4" LAMINATED |  | WD | HM | 20 MIN, SMOKE BARRIER | 4.3
F112B |  | CREDENTIAL READER | G | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" | 1/4" LAMINATED |  | WD | HM | 20 MIN, SMOKE BARRIER | 4.3

## WINDOW SCHEDULE
MARK | COMMENTS | MANUFACTURER | WINDOW_FINISH | WINDOW_GLAZING | WINDOW_MATERIAL_TYPE | WINDOW_ROUGH_OPENING_SIZE_H | WINDOW_ROUGH_OPENING_SIZE_W
W1 | EXTERIOR BEHAVIORAL HEALTH WITH INTEGRAL BLINDS AND PRIVACY FILM ON EXTERIOR SIDE, VIF EXISTING OPENING SIZE | WAUSAU |  | 1/2" POLYCARBONATE INTERIOR & IGU EXTERIOR | AL | 4' - 0" | 4' - 0"
W2 | BACK-TO-BACK BEHAVIORAL HEALTH INTERIOR ACCESSORY WINDOWS WITH INTEGRAL BLINDS. COLOR MATCHED | WAUSAU |  | 1/2" POLYCARBONATE & 1/2" POLYCARBONATE | AL | 3' - 10" | 1' - 6"
W4 | SINGLE HUNG, VIF EXISTING OPENING SIZE | KAWNEER |  | IGU | AL | 4' - 2" | 3' - 10"
W4.A | FIXED WITH LOUVER, VIF EXISTING OPENING SIZE | KAWNEER |  | IGU | HM | 4' - 2" | 3' - 10"

## ESTIMATION SCHEDULE
QTY | MARKS | LOCATION | ESTIMATOR NOTES | FLOOR NO | OPENING MODE | INT/EXT | GLAZING | COMMENTS | DOOR_TYPE | FRAME_TYPE | DETAIL_HEAD | DETAIL_JAMB | DETAIL_SILL | DOOR_FINISH | DOOR_SIZE_H | DOOR_SIZE_T | DOOR_SIZE_W | DOOR_GLAZING | FRAME_FINISH | DOOR_MATERIAL | FRAME_MATERIAL | FIRE_RATING_LABEL | HARDWARE_GROUP_NO | MANUFACTURER | WINDOW_FINISH | WINDOW_GLAZING | WINDOW_MATERIAL_TYPE | WINDOW_ROUGH_OPENING_SIZE_H | WINDOW_ROUGH_OPENING_SIZE_W
1 | RS012 | [7 empty] | F | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 3
1 | RS013 | [6 empty] | CREDENTIAL READER | F | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 4.3
1 | RS014 | [7 empty] | N | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" | 1/2" LAMINATED |  | WD | HM |  | 5.1
1 | RS015 | [7 empty] | N | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" | 1/2" LAMINATED |  | WD | HM |  | 6
1 | RS016 | [7 empty] | F | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 7
1 | RS017A | [7 empty] | N | S | E1/A700 | E2/A700 |  |  | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 6
1 | RS017B | [6 empty] | CREDENTIAL READER | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" | 1/2" LAMINATED |  | WD | HM | 45 MINS | 4.3
1 | RS020A | [6 empty] | CREDENTIAL READER | N1 | SS24x84 | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 1/2" LAMINATED |  | WD | HM | 45 MINS | 9.1
1 | RS020B | [6 empty] | CREDENTIAL READER | FG1 | SS24x84 | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM | 45 MINS | 9
1 | RS021 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
1 | RS022 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
1 | RS023 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
1 | RS024 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
1 | RS025 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
1 | RS026 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
1 | RS027 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2/ SP-1 | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE | SP-1 | WD | HM |  | 1
1 | RS028 | [6 empty] | CREDENTIAL READER | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 4.2
1 | RS029A | [7 empty] | FG1 | SS24x84 | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 3'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 8
1 | RS029B | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 4.1
1 | RS030 | [7 empty] | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 6
1 | RS030A | [6 empty] | CREDENTIAL READER | FG1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 4
1 | RS030B | [6 empty] | CREDENTIAL READER | FG1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 4
1 | RS030C | [7 empty] | - | S | C1/A700 | D2/A700 |  | - | 7'-0" | 1 3/4" | 4'-0" | 3/8" POLYCARBONATE |  | - | HM
1 | RS032 | [6 empty] | CREDENTIAL READER | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 3
1 | RS033 | [7 empty] | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 4
1 | RS034 | [6 empty] | ANTI - BARRICADE, DOOR TOP MONITOR ALARMED | F AB | AB | C1/A700 | D1/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 2
1 | RS035 | [6 empty] | ANTI - BARRICADE, DOOR TOP MONITOR ALARMED | F AB | AB | C1/A700 | D1/A700 |  | IRWC-2 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 2
1 | RS036 | [7 empty] | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 5
1 | RS037 | [7 empty] | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 7
1 | RS038 | [7 empty] | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 1 3/4" | 3'-0" |  |  | WD | HM |  | 5
1 | RS040 | [7 empty] | - | S | C1/A700 | D2/A700 |  | - | 7'-0" | 1 3/4" | 3'-0" |  |  | - | HM
1 | F100 | [6 empty] | CREDENTIAL READER | G1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM | 20 MIN, SMOKE BARRIER | 4.4
1 | F101 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
1 | F102 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
1 | F103 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
1 | F104 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
1 | F105 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-2 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1
1 | F107A | [6 empty] | CREDENTIAL READER | FG1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 10
1 | F107B | [7 empty] | FG1 | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" |  |  | WD | HM |  | 5
1 | F108 | [6 empty] | ANTI - BARRICADE, DOOR TOP MONITOR ALARMED | F AB | AB | C1/A700 | D1/A700 |  | IRWC-2 | 7'-0" | 13/4" | 3'-0" |  |  | WD | HM |  | 2
1 | F110 | [7 empty] | G | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" |  |  | WD | HM |  | 5
1 | F111 | [7 empty] | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" |  |  | WD | HM |  | 7.1
1 | F112 | [6 empty] | VISION PANEL WITH INTEGRAL BLINDS, DOOR TOP MONITOR ALARMED | G1 | S | E1/A700 | E2/A700 |  | IRWC-1/ SP-1 | 7'-0" | 13/4" | 4'-0" | 3/8" POLYCARBONATE |  | WD | HM |  | 1.1
1 | F112A | [6 empty] | CREDENTIAL READER | F | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" | 1/4" LAMINATED |  | WD | HM | 20 MIN, SMOKE BARRIER | 4.3
1 | F112B | [6 empty] | CREDENTIAL READER | G | S | E1/A700 | E2/A700 |  | IRWC-1 | 7'-0" | 13/4" | 3'-0" | 1/4" LAMINATED |  | WD | HM | 20 MIN, SMOKE BARRIER | 4.3
1 | W1 | [6 empty] | EXTERIOR BEHAVIORAL HEALTH WITH INTEGRAL BLINDS AND PRIVACY FILM ON EXTERIOR SIDE, VIF EXISTING OPENING SIZE | [15 empty] | WAUSAU |  | 1/2" POLYCARBONATE INTERIOR & IGU EXTERIOR | AL | 4' - 0" | 4' - 0"
1 | W2 | [6 empty] | BACK-TO-BACK BEHAVIORAL HEALTH INTERIOR ACCESSORY WINDOWS WITH INTEGRAL BLINDS. COLOR MATCHED | [15 empty] | WAUSAU |  | 1/2" POLYCARBONATE & 1/2" POLYCARBONATE | AL | 3' - 10" | 1' - 6"
1 | W4 | [6 empty] | SINGLE HUNG, VIF EXISTING OPENING SIZE | [15 empty] | KAWNEER |  | IGU | AL | 4' - 2" | 3' - 10"
1 | W4.A | [6 empty] | FIXED WITH LOUVER, VIF EXISTING OPENING SIZE | [15 empty] | KAWNEER |  | IGU | HM | 4' - 2" | 3' - 10"