## DOOR SCHEDULE
MARK | FIRE RATING | DOOR PANEL 1 | DOOR PANEL 2 | DOOR PANEL 1 WIDTH | DOOR PANEL 2 WIDTH | DOOR HEIGHT | DOOR FINISH 1 | FRAME TYPE | FRAME FINISH 1 | DETAIL HEAD | DETAIL JAMB | HARDWARE GROUP NO | COMMENTS | SECTION | FLOOR / LEVEL
100A |  | PNL-FG-AL | PNL-FG-AL | 3'-0" | 3'-0" | 9'-0" | SEE COMMENTS | FRM-00AL(CW) | SEE COMMENTS |  |  | 1.0 | SHOP FINISH, COLOR SELECTED BY ARCHITECT | REPEATING | P
101A |  | PNL-FG-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 11.0 | PANEL STAIN TO MATCH ADJACENT WALL PANEL WOOD | REPEATING | P
102A |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 8.0 | PANEL STAIN TO MATCH ADJACENT WALL PANEL WOOD | REPEATING | P
103A |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 13.0 |  | REPEATING | P
104A |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 9.0 |  | REPEATING | P
104B |  | PNL-F-WD |  | 3'-0" |  | 7'-0" | PAINT | FRM-00HM1 | PAINT |  |  | 10.0 |  | REPEATING | P
105A |  | PNL-F-WD |  | 3'-0" |  | 8'-0" | STAIN | FRM-CONCEALED | PAINT |  |  | 12.0 | STAIN PANEL TO MATCH AND BE FLUSH WITH ADJACENT WOOD PANELS. | REPEATING | P
105B |  | PNL-F-WD |  | 2'-8" |  | 7'-0" | PAINT | FRM-00HM1 | PAINT |  |  | 14.0 |  | REPEATING | P
106A |  | PNL-FG-AL | PNL-FG-AL | 3'-0" | 3'-0" | 9'-0" | SEE COMMENTS | FRM-00AL(CW) | SEE COMMENTS |  |  | 4.0 | SHOP FINISH, COLOR SELECTED BY ARCHITECT | REPEATING | P
107A |  | PNL-F-WD |  | 3'-0" |  | 6'-8" | STAIN | FRM-CONCEALED | PAINT |  |  | 17.0 | STAIN PANEL TO MATCH AND BE FLUSH WITH ADJACENT WOOD PANELS. | REPEATING | P
107B |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 2.0 | PANEL STAIN TO MATCH ADJACENT WALL PANEL WOOD | REPEATING | P
110A |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 5.0 |  | REPEATING | P
110B |  | PNL-FG-AL | PNL-FG-AL | 3'-0" | 3'-0" | 7'-0" | SEE COMMENTS | FRM-00AL(CW) | SEE COMMENTS |  |  | 1.0 | SHOP FINISH, COLOR SELECTED BY ARCHITECT | REPEATING | P
110C |  | PNL-FG-AL | PNL-FG-AL | 3'-0" | 3'-0" | 7'-0" | SEE COMMENTS | FRM-00AL(CW) | SEE COMMENTS |  |  | 1.0 | SHOP FINISH, COLOR SELECTED BY ARCHITECT | REPEATING | P
111A |  | PNL-N-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 15.0 |  | REPEATING | P
112A |  | PNL-E32B-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 16.0 |  | REPEATING | P
113A |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 16.0 |  | REPEATING | P
114A |  | PNL-E32B-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 14.0 |  | REPEATING | P
115A |  | PNL-FG-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 11.0 |  | REPEATING | P
116A |  | PNL-E32B-WD |  | 3'-0" |  | 7'-0" | PAINT | FRM-00HM1 | PAINT |  |  | 7.0 |  | REPEATING | P
117A |  | PNL-N-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 15.0 |  | REPEATING | P
118A |  | PNL-F-HM |  | 3'-0" |  | 7'-0" | PAINT | FRM-00HM1 | PAINT |  |  | 3.0 |  | REPEATING | P
121A |  | PNL-F-WD |  | 3'-0" |  | 7'-0" | PAINT | FRM-00HM1 | PAINT |  |  | 14.0 |  | REPEATING | P

## ESTIMATION SCHEDULE
QTY | MARKS | LOCATION | ESTIMATOR NOTES | FLOOR NO | OPENING MODE | INT/EXT | FIRE RATING | DOOR PANEL 1 | DOOR PANEL 2 | DOOR PANEL 1 WIDTH | DOOR PANEL 2 WIDTH | DOOR HEIGHT | DOOR FINISH 1 | FRAME TYPE | FRAME FINISH 1 | DETAIL HEAD | DETAIL JAMB | HARDWARE GROUP NO | COMMENTS | SECTION | FLOOR / LEVEL
1 | 100A | Womens |  | 1 | PR | Exterior |  | PNL-FG-AL | PNL-FG-AL | 3'-0" | 3'-0" | 9'-0" | SEE COMMENTS | FRM-00AL(CW) | SEE COMMENTS |  |  | 1.0 | SHOP FINISH, COLOR SELECTED BY ARCHITECT | REPEATING | P
1 | 101A | OFFICE 101 |  | 1 | SGL | Interior |  | PNL-FG-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 11.0 | PANEL STAIN TO MATCH ADJACENT WALL PANEL WOOD | REPEATING | P
1 | 102A | OFFICE 101 |  | 1 | SGL | Interior |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 8.0 | PANEL STAIN TO MATCH ADJACENT WALL PANEL WOOD | REPEATING | P
1 | 103A | Narthex |  | 1 | SGL | Interior |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 13.0 |  | REPEATING | P
1 | 104A | WOMENS TLT |  | 1 | SGL | Interior |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 9.0 |  | REPEATING | P
1 | 104B | WOMENS TLT |  | 1 | SGL | Interior |  | PNL-F-WD |  | 3'-0" |  | 7'-0" | PAINT | FRM-00HM1 | PAINT |  |  | 10.0 |  | REPEATING | P
1 | 105A | AV BOOTH 105 |  | 1 | SGL | Interior |  | PNL-F-WD |  | 3'-0" |  | 8'-0" | STAIN | FRM-CONCEALED | PAINT |  |  | 12.0 | STAIN PANEL TO MATCH AND BE FLUSH WITH ADJACENT WOOD PANELS. | REPEATING | P
1 | 105B | IT ROOM 105B |  | 1 | SGL | Interior |  | PNL-F-WD |  | 2'-8" |  | 7'-0" | PAINT | FRM-00HM1 | PAINT |  |  | 14.0 |  | REPEATING | P
1 | 106A | AV BOOTH 105 |  | 1 | PR | Exterior |  | PNL-FG-AL | PNL-FG-AL | 3'-0" | 3'-0" | 9'-0" | SEE COMMENTS | FRM-00AL(CW) | SEE COMMENTS |  |  | 4.0 | SHOP FINISH, COLOR SELECTED BY ARCHITECT | REPEATING | P
1 | 107A | Unknown |  | 1 | SGL | Interior |  | PNL-F-WD |  | 3'-0" |  | 6'-8" | STAIN | FRM-CONCEALED | PAINT |  |  | 17.0 | STAIN PANEL TO MATCH AND BE FLUSH WITH ADJACENT WOOD PANELS. | REPEATING | P
1 | 107B | AV CLOSET |  | 1 | SGL | Interior |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 2.0 | PANEL STAIN TO MATCH ADJACENT WALL PANEL WOOD | REPEATING | P
1 | 110A | Unknown |  | 1 | SGL | Interior |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 5.0 |  | REPEATING | P
1 | 110B | Unknown |  | 1 | PR | Exterior |  | PNL-FG-AL | PNL-FG-AL | 3'-0" | 3'-0" | 7'-0" | SEE COMMENTS | FRM-00AL(CW) | SEE COMMENTS |  |  | 1.0 | SHOP FINISH, COLOR SELECTED BY ARCHITECT | REPEATING | P
1 | 110C | Unknown |  | 1 | PR | Exterior |  | PNL-FG-AL | PNL-FG-AL | 3'-0" | 3'-0" | 7'-0" | SEE COMMENTS | FRM-00AL(CW) | SEE COMMENTS |  |  | 1.0 | SHOP FINISH, COLOR SELECTED BY ARCHITECT | REPEATING | P
1 | 111A | MENS TOILET |  | 1 | SGL | Interior |  | PNL-N-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 15.0 |  | REPEATING | P
1 | 112A | MENS TLT |  | 1 | SGL | Interior |  | PNL-E32B-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 16.0 |  | REPEATING | P
1 | 113A | JAN 114 |  | 1 | SGL | Interior |  | PNL-E11-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 16.0 |  | REPEATING | P
1 | 114A | JAN 114 |  | 1 | SGL | Interior |  | PNL-E32B-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 14.0 |  | REPEATING | P
1 | 115A | OFFICE / GROOM |  | 1 | SGL | Interior |  | PNL-FG-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 11.0 |  | REPEATING | P
1 | 116A | Unknown |  | 1 | SGL | Interior |  | PNL-E32B-WD |  | 3'-0" |  | 7'-0" | PAINT | FRM-00HM1 | PAINT |  |  | 7.0 |  | REPEATING | P
1 | 117A | OFFICE / GROOM |  | 1 | SGL | Interior |  | PNL-N-WD |  | 3'-0" |  | 7'-0" | STAIN | FRM-00HM1 | PAINT |  |  | 15.0 |  | REPEATING | P
1 | 118A | Unknown |  | 1 | SGL | Exterior |  | PNL-F-HM |  | 3'-0" |  | 7'-0" | PAINT | FRM-00HM1 | PAINT |  |  | 3.0 |  | REPEATING | P
1 | 121A | Unknown |  | 1 | SGL | Interior |  | PNL-F-WD |  | 3'-0" |  | 7'-0" | PAINT | FRM-00HM1 | PAINT |  |  | 14.0 |  | REPEATING | P