## DOOR SCHEDULE
MARK | GENERAL DESCRIPTION | RATING | DOOR PANEL TYPE | DOOR MATERIAL | DOOR FINISH | DOOR NO. OF LEAVES | DOOR WIDTH | DOOR HEIGHT | DOOR THCKNS | FRAME TYPE | FRAME MATERIAL | FRAME FINISH | DETAIL JAMB | DETAIL HEAD | COMMENTS | SECTION | FLOOR / LEVEL | is_borderline | review_reason | MARK | Wall Type | WALL TYPE | is_bifurcated | original_tag | Takeoff Notes | excluded
A | SINGLE FLUSH SWING | - | F | SC | PT | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
A.1 | SINGLE FLUSH SWING | - | F | MILLWORK | WDV-1 | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | WD | WDV-1 | 10/A621 | 9/A621 | MILLWORK FRAME AND DOOR | REPEATING | L20
A.2 | SINGLE FLUSH SWING | 90 | EX | EX | PT | 1 | EX | EX | EX | 01 | HM | PT | EX | EX | NOTE 3 | REPEATING | L20 | true | mark_not_located_on_drawing
A.3 | SINGLE FLUSH SWING | - | F | SC | PT | 1 | MATCH EXISTING | MATCH EXISTING | MATCH EXISTING | 01 | HM | PT | 2/A621 | 1/A621 | NOTE 2 | REPEATING | L20
B.1 | PAIR FLUSH SWING | - | F | MILLWORK | PT | 2 | 3'-0"/3'-0" | 8'-11.5" | 1-3/4" | 01 | WD | PT | 8/A621 | 6/A621, SIM | - | REPEATING | L20 |  |  | B.1 | INT | INT | true | B | Door Bifurcated on basis of wall type (INT)
B.2 | PAIR FLUSH SWING | - | F | MILLWORK | PT | 2 | 3'-0"/3'-0" | 8'-11.5" | 1-3/4" | 01 | WD | PT | 8/A621 | 6/A621, SIM | - | REPEATING | L20 |  |  | B.2 | UNKNOWN | UNKNOWN | true | B | Door Bifurcated on basis of wall type (UNKNOWN)
B.1 | PAIR FLUSH SWING | - | FP | SC | PT | 2 | 3'-0"/3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
B.2.1 | PAIR FLUSH SWING | - | FV | SC | PT | 2 | EX | EX | EX | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20 |  |  | B.2.1 | EXT | EXT | true | B.2 | Door Bifurcated on basis of wall type (EXT)
B.2.2 | PAIR FLUSH SWING | - | FV | SC | PT | 2 | EX | EX | EX | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20 |  |  | B.2.2 | INT | INT | true | B.2 | Door Bifurcated on basis of wall type (INT)
C.1 | CASED OPENING | - | - | - | - | - | 3'-6" | 8'-0" | - | 02 | HM | PT | 4/A621 | 3/A621 | - | REPEATING | L20 |  |  | C.1 | EXT | EXT | true | C | Door Bifurcated on basis of wall type (EXT)
C.2 | CASED OPENING | - | - | - | - | - | 3'-6" | 8'-0" | - | 02 | HM | PT | 4/A621 | 3/A621 | - | REPEATING | L20 |  |  | C.2 | INT | INT | true | C | Door Bifurcated on basis of wall type (INT)
D.1 | DEMOUNTABLE OFFICE FRONT - SINGLE | - | D | AL/GL | FF | 1 | 3'-0" | 8'-10" | 1-3/4" | - | AL | FF | A613 | A613 | - | REPEATING | L20 |  |  | D.1 | INT | INT | true | D | Door Bifurcated on basis of wall type (INT) | true
D.2 | DEMOUNTABLE OFFICE FRONT - SINGLE | - | D | AL/GL | FF | 1 | 3'-0" | 8'-10" | 1-3/4" | - | AL | FF | A613 | A613 | - | REPEATING | L20 |  |  | D.2 | UNKNOWN | UNKNOWN | true | D | Door Bifurcated on basis of wall type (UNKNOWN) | true
D1.1 | DEMOUNTABLE OFFICE FRONT - SINGLE | - | D1 | AL/GL | FF | 1 | 3'-3" | 8'-11.5" | 1-3/4" | - | AL | FF | A613 | A613 | - | REPEATING | L20 |  |  | D1.1 | EXT | EXT | true | D1 | Door Bifurcated on basis of wall type (EXT) | true
D1.2 | DEMOUNTABLE OFFICE FRONT - SINGLE | - | D1 | AL/GL | FF | 1 | 3'-3" | 8'-11.5" | 1-3/4" | - | AL | FF | A613 | A613 | - | REPEATING | L20 |  |  | D1.2 | INT | INT | true | D1 | Door Bifurcated on basis of wall type (INT) | true
D2 | DEMOUNTABLE OFFICE FRONT - DOUBLE | - | D2 | AL/GL | FF | 2 | 3'-3"/3'-3" | 8'-10" | 1-3/4" | - | AL | FF | A613 | A613 | - | REPEATING | L20 | [7 empty] | Door Excluded. Storefront/aluminum system. Material: AL/GL | true
D3 | DOUBLE SWING - FULL GLASS | - | FG | GL | FF | 2 | 3'-3"/3'-3" | 9'-0" | 5/8" | - | - | - | - | 7/A621 | FRAMELESS GLASS DOOR BY OFFICE FRONT MANUFACTURER. | REPEATING | L20 | true | mark_not_located_on_drawing | [5 empty] | Door Excluded. Storefront/aluminum system. Material: GL | true
D4 | SINGLE ENTRY SWING - FULL LITE | - | DE | AL/GL | FF | 1 | 3'-0" | 9'-0" | 1-3/4" | - | - | - | - | - | FULL-LIGHT ALUM./GLASS DOOR BY DEMOUNTABLE DOOR MANUF. | REPEATING | L20 | [7 empty] | Door Excluded. Storefront/aluminum system. Material: AL/GL | true
F | SINGLE FLUSH | 45 | F | SC | PT | 2 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
G | SINGLE FLUSH SWING | - | F | MILLWORK | PT | 1 | 3'-0" | 8'-10" | 1-3/4" | 01 | WD | PT | 6 / A621 | 5 / A621 | CONCEALED WOOD FRAME | REPEATING | L20
H | SINGLE FLUSH | - | F | SC | PT | 1 | VIF | VIF | 1-3/4" | EX | EX | PT | EX | EX | NOTE 1 | REPEATING | L20
H1.1 | SINGLE FLUSH | - | F | SC | PT | 1 | VIF | VIF | 1-3/4" | EX | EX | PT | EX | EX | NOTE 1 | REPEATING | L20 |  |  | H1.1 | INT | INT | true | H1 | Door Bifurcated on basis of wall type (INT)
H1.2 | SINGLE FLUSH | - | F | SC | PT | 1 | VIF | VIF | 1-3/4" | EX | EX | PT | EX | EX | NOTE 1 | REPEATING | L20 |  |  | H1.2 | UNKNOWN | UNKNOWN | true | H1 | Door Bifurcated on basis of wall type (UNKNOWN)
H2 | SINGLE FLUSH | - | EX | EX | PT | 1 | VIF | VIF | 1-3/4" | EX | EX | PT | EX | EX | NOTE 4 | REPEATING | L20 | true | mark_not_located_on_drawing
J | SINGLE FLUSH SWING | - | F | WOOD | STAIN | 1 | 3'-0" | 9'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | TO MATCH EXISTING BUILDING STANDARD CORRIDOR DOORS AND FRAMES | REPEATING | L20 | true | mark_not_located_on_drawing

## ESTIMATION SCHEDULE
QTY | MARKS | LOCATION | ESTIMATOR NOTES | FLOOR NO | OPENING MODE | INT/EXT | GENERAL DESCRIPTION | RATING | DOOR PANEL TYPE | DOOR MATERIAL | DOOR FINISH | DOOR NO. OF LEAVES | DOOR WIDTH | DOOR HEIGHT | DOOR THCKNS | FRAME TYPE | FRAME MATERIAL | FRAME FINISH | DETAIL JAMB | DETAIL HEAD | COMMENTS | SECTION | FLOOR / LEVEL | is_borderline | review_reason | Wall Type | WALL TYPE | is_bifurcated | original_tag | Takeoff Notes | excluded
1 | A | VEST |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
1 | A | PASSAGEWAY |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
1 | A | STORAGE |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
1 | A | VEST |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
1 | A | Unknown |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
1 | A | Unknown |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
1 | A | PASSAGWAY |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
1 | A | Unknown |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
1 | A | Unknown |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
1 | A | MINDFUL |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
1 | A.1 | Unisex Toilet |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | MILLWORK | WDV-1 | 1 | 3'-0" | 8'-0" | 1-3/4" | 01 | WD | WDV-1 | 10/A621 | 9/A621 | MILLWORK FRAME AND DOOR | REPEATING | L20
0 | A.2 |  |  | 2 |  |  | SINGLE FLUSH SWING | 90 | EX | EX | PT | 1 | EX | EX | EX | 01 | HM | PT | EX | EX | NOTE 3 | REPEATING | L20 | true | mark_not_located_on_drawing
1 | A.3 | VEST. |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | MATCH EXISTING | MATCH EXISTING | MATCH EXISTING | 01 | HM | PT | 2/A621 | 1/A621 | NOTE 2 | REPEATING | L20
1 | A.3 | VEST. |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | SC | PT | 1 | MATCH EXISTING | MATCH EXISTING | MATCH EXISTING | 01 | HM | PT | 2/A621 | 1/A621 | NOTE 2 | REPEATING | L20
1 | B.1 | Closet 2016 |  | 1 | PR | Interior | PAIR FLUSH SWING | - | F | MILLWORK | PT | 2 | 3'-0"/3'-0" | 8'-11.5" | 1-3/4" | 01 | WD | PT | 8/A621 | 6/A621, SIM | - | REPEATING | L20 |  |  | INT | INT | true | B | Door Bifurcated on basis of wall type (INT)
1 | B.2 | Freight |  | 1 | PR | Interior | PAIR FLUSH SWING | - | F | MILLWORK | PT | 2 | 3'-0"/3'-0" | 8'-11.5" | 1-3/4" | 01 | WD | PT | 8/A621 | 6/A621, SIM | - | REPEATING | L20 |  |  | UNKNOWN | UNKNOWN | true | B | Door Bifurcated on basis of wall type (UNKNOWN)
1 | B.2 | Freight |  | 1 | PR | Interior | PAIR FLUSH SWING | - | F | MILLWORK | PT | 2 | 3'-0"/3'-0" | 8'-11.5" | 1-3/4" | 01 | WD | PT | 8/A621 | 6/A621, SIM | - | REPEATING | L20 |  |  | UNKNOWN | UNKNOWN | true | B | Door Bifurcated on basis of wall type (UNKNOWN)
1 | B.1 | Closet 2016 |  | 1 | PR | Interior | PAIR FLUSH SWING | - | FP | SC | PT | 2 | 3'-0"/3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
0 | B.2.1 |  |  | 2 |  |  | PAIR FLUSH SWING | - | FV | SC | PT | 2 | EX | EX | EX | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20 |  |  | EXT | EXT | true | B.2 | Door Bifurcated on basis of wall type (EXT)
0 | B.2.2 |  |  | 2 |  |  | PAIR FLUSH SWING | - | FV | SC | PT | 2 | EX | EX | EX | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20 |  |  | INT | INT | true | B.2 | Door Bifurcated on basis of wall type (INT)
0 | C.1 |  |  | 1 |  |  | CASED OPENING | - | - | - | - | - | 3'-6" | 8'-0" | - | 02 | HM | PT | 4/A621 | 3/A621 | - | REPEATING | L20 |  |  | EXT | EXT | true | C | Door Bifurcated on basis of wall type (EXT)
0 | C.2 |  |  | 2 |  |  | CASED OPENING | - | - | - | - | - | 3'-6" | 8'-0" | - | 02 | HM | PT | 4/A621 | 3/A621 | - | REPEATING | L20 |  |  | INT | INT | true | C | Door Bifurcated on basis of wall type (INT)
0 | D.1 |  | Door is of Aluminium/Glass material. | 1 |  |  | DEMOUNTABLE OFFICE FRONT - SINGLE | - | D | AL/GL | FF | 1 | 3'-0" | 8'-10" | 1-3/4" | - | AL | FF | A613 | A613 | - | REPEATING | L20 |  |  | INT | INT | true | D | Door Bifurcated on basis of wall type (INT) | true
0 | D.2 |  | Door is of Aluminium/Glass material. | 2 |  |  | DEMOUNTABLE OFFICE FRONT - SINGLE | - | D | AL/GL | FF | 1 | 3'-0" | 8'-10" | 1-3/4" | - | AL | FF | A613 | A613 | - | REPEATING | L20 |  |  | UNKNOWN | UNKNOWN | true | D | Door Bifurcated on basis of wall type (UNKNOWN) | true
0 | D1.1 |  | Door is of Aluminium/Glass material. | 1 |  |  | DEMOUNTABLE OFFICE FRONT - SINGLE | - | D1 | AL/GL | FF | 1 | 3'-3" | 8'-11.5" | 1-3/4" | - | AL | FF | A613 | A613 | - | REPEATING | L20 |  |  | EXT | EXT | true | D1 | Door Bifurcated on basis of wall type (EXT) | true
0 | D1.2 |  | Door is of Aluminium/Glass material. | 1 |  |  | DEMOUNTABLE OFFICE FRONT - SINGLE | - | D1 | AL/GL | FF | 1 | 3'-3" | 8'-11.5" | 1-3/4" | - | AL | FF | A613 | A613 | - | REPEATING | L20 |  |  | INT | INT | true | D1 | Door Bifurcated on basis of wall type (INT) | true
1 | D2 | Unknown | Door is of Aluminium/Glass material. | 1 |  |  | DEMOUNTABLE OFFICE FRONT - DOUBLE | - | D2 | AL/GL | FF | 2 | 3'-3"/3'-3" | 8'-10" | 1-3/4" | - | AL | FF | A613 | A613 | - | REPEATING | L20 | [6 empty] | Door Excluded. Storefront/aluminum system. Material: AL/GL | true
1 | D2 | Elevator Lobby | Door is of Aluminium/Glass material. | 1 |  |  | DEMOUNTABLE OFFICE FRONT - DOUBLE | - | D2 | AL/GL | FF | 2 | 3'-3"/3'-3" | 8'-10" | 1-3/4" | - | AL | FF | A613 | A613 | - | REPEATING | L20 | [6 empty] | Door Excluded. Storefront/aluminum system. Material: AL/GL | true
0 | D3 |  | Door is of Aluminium/Glass material. | 3 |  |  | DOUBLE SWING - FULL GLASS | - | FG | GL | FF | 2 | 3'-3"/3'-3" | 9'-0" | 5/8" | - | - | - | - | 7/A621 | FRAMELESS GLASS DOOR BY OFFICE FRONT MANUFACTURER. | REPEATING | L20 | true | mark_not_located_on_drawing |  |  |  |  | Door Excluded. Storefront/aluminum system. Material: GL | true
1 | D4 | Unknown | Door is of Aluminium/Glass material. | 1 |  |  | SINGLE ENTRY SWING - FULL LITE | - | DE | AL/GL | FF | 1 | 3'-0" | 9'-0" | 1-3/4" | - | - | - | - | - | FULL-LIGHT ALUM./GLASS DOOR BY DEMOUNTABLE DOOR MANUF. | REPEATING | L20 | [6 empty] | Door Excluded. Storefront/aluminum system. Material: AL/GL | true
1 | F | IDF |  | 1 | SGL | Interior | SINGLE FLUSH | 45 | F | SC | PT | 2 | 3'-0" | 8'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | - | REPEATING | L20
1 | G | Unknown |  | 1 | SGL | Interior | SINGLE FLUSH SWING | - | F | MILLWORK | PT | 1 | 3'-0" | 8'-10" | 1-3/4" | 01 | WD | PT | 6 / A621 | 5 / A621 | CONCEALED WOOD FRAME | REPEATING | L20
1 | H | Men's Toilet |  | 1 | SGL | Interior | SINGLE FLUSH | - | F | SC | PT | 1 | VIF | VIF | 1-3/4" | EX | EX | PT | EX | EX | NOTE 1 | REPEATING | L20
1 | H | WOMEN |  | 1 | SGL | Interior | SINGLE FLUSH | - | F | SC | PT | 1 | VIF | VIF | 1-3/4" | EX | EX | PT | EX | EX | NOTE 1 | REPEATING | L20
1 | H | WOMEN 2004 |  | 1 | SGL | Interior | SINGLE FLUSH | - | F | SC | PT | 1 | VIF | VIF | 1-3/4" | EX | EX | PT | EX | EX | NOTE 1 | REPEATING | L20
1 | H | VEST |  | 1 | SGL | Interior | SINGLE FLUSH | - | F | SC | PT | 1 | VIF | VIF | 1-3/4" | EX | EX | PT | EX | EX | NOTE 1 | REPEATING | L20
0 | H1.1 |  |  | 1 |  |  | SINGLE FLUSH | - | F | SC | PT | 1 | VIF | VIF | 1-3/4" | EX | EX | PT | EX | EX | NOTE 1 | REPEATING | L20 |  |  | INT | INT | true | H1 | Door Bifurcated on basis of wall type (INT)
0 | H1.2 |  |  | 1 |  |  | SINGLE FLUSH | - | F | SC | PT | 1 | VIF | VIF | 1-3/4" | EX | EX | PT | EX | EX | NOTE 1 | REPEATING | L20 |  |  | UNKNOWN | UNKNOWN | true | H1 | Door Bifurcated on basis of wall type (UNKNOWN)
0 | H2 |  |  | 2 |  |  | SINGLE FLUSH | - | EX | EX | PT | 1 | VIF | VIF | 1-3/4" | EX | EX | PT | EX | EX | NOTE 4 | REPEATING | L20 | true | mark_not_located_on_drawing
0 | J | [5 empty] | SINGLE FLUSH SWING | - | F | WOOD | STAIN | 1 | 3'-0" | 9'-0" | 1-3/4" | 01 | HM | PT | 2/A621 | 1/A621 | TO MATCH EXISTING BUILDING STANDARD CORRIDOR DOORS AND FRAMES | REPEATING | L20 | true | mark_not_located_on_drawing