## DOOR SCHEDULE
MARK | FLOOR | ROOM | DOOR TYPE | FRAME TYPE | DOOR WIDTH | DOOR HEIGHT | ELEVATION | HARDWARE GROUP NO | FIRE RATING | COMMENTS | SECTION | Takeoff Notes | excluded | MARK | Wall Type | WALL TYPE | is_bifurcated | original_tag | is_borderline | review_reason
100A | FIRST FLOOR | SECURE VESTIBULE | AFRP/GL | AL | 6'-0" | 7'-0" | G | SET 1.0 |  | CARD READER, PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
100B | FIRST FLOOR | SECURE VESTIBULE | AFRP/GL | AL | 6'-0" | 7'-0" | G | SET 2.0 |  | CARD READER, PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
100C | FIRST FLOOR | VESTIBULE/LOBBY | SWC/GL | HM | 6'-0" | 7'-0" | G | SET 7.0 |  | CARD READER, PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
100D | FIRST FLOOR | CORRIDOR | SWC/GL | HM | 7'-0" | 7'-0" | H | SET 13.0 | 60 MIN | MAGNETIC HOLD OPEN, GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
100E | FIRST FLOOR | CORRIDOR | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 11.0 | 60 MIN | MAGNETIC HOLD GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
100F | FIRST FLOOR | CORRIDOR | SWC/GL | HM | 7'-0" | 7'-0" | H | SET 14.0 | 60 MIN | MAGNETIC HOLD GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
100G | FIRST FLOOR | CORRIDOR | SWC/GL | HM | 7'-0" | 7'-0" | H | SET 14.0 | 60 MIN | MAGNETIC HOLD OPEN, GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
100H | FIRST FLOOR | VESTIBULE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 5.0 |  | CARD READER | REPEATING
100H.1 | FIRST FLOOR | VESTIBULE | AFRP/GL | HM | 2'-10" | 7'-0" | C | SET 6.0 | 60 MIN | CARD READER, PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
100I | FIRST FLOOR | VESTIBULE/LOBBY | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 | 60 MIN |  | REPEATING
100J | FIRST FLOOR | VESTIBULE/LOBBY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 |  |  | REPEATING
100K | FIRST FLOOR | STAIR #1 | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 | 60 MIN | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
101.1 | FIRST FLOOR | MAIN OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 101.1 | INT | INT | true | 101
101.2 | FIRST FLOOR | MAIN OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | 101.2 | UNKNOWN | UNKNOWN | true | 101
101A | FIRST FLOOR | SUPERVISOR OF INSTRUCTION | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 17.0 |  |  | REPEATING
101B | FIRST FLOOR | SUPERVISOR OF BCBA | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 17.0 |  |  | REPEATING
101C | FIRST FLOOR | PRINICPAL'S OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 17.0 |  |  | REPEATING
101D | FIRST FLOOR | CONFERENCE ROOM | SWC/GL | HM | 3'-0" | 7'-0" | E.1 | SET 17.0 |  |  | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
102 | FIRST FLOOR | FACULTY DINING/ WORK RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
103 | FIRST FLOOR | SOCIAL WORK OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
103A | FIRST FLOOR | CL. | SCW | HM | 3'-0" | 7'-0" | A | SET 19.0 |  |  | REPEATING
104 | FIRST FLOOR | SLP SUITE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
104A.1 | FIRST FLOOR | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | 104A.1 | EXT | EXT | true | 104A
104A.2 | FIRST FLOOR | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 104A.2 | INT | INT | true | 104A
104B | FIRST FLOOR | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
104C | FIRST FLOOR | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
105A | FIRST FLOOR | CAFETERIA | SWC/GL | HM | 3'-0" | 7'-0" | C1 | SET 21.0 |  |  | REPEATING
105B | FIRST FLOOR | CAFETERIA | SCW | HM | 3'-0" | 7'-0" | A | SET 22.0 |  |  | REPEATING
105D | FIRST FLOOR | CAFETERIA | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 23.0 |  |  | REPEATING
105E | FIRST FLOOR | CAFETERIA | AFRP/GL | AL | 3'-7" | 7'-0" | C | SET 3.0 |  | GC TO COORDINATE DOOR WIDTH WITH EXISTING STOREFRONT CONDITION AND MULLION SPACING, TYP. | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true | [5 empty] | true | mark_not_located_on_drawing
106.1 | FIRST FLOOR | ART CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | 106.1 | EXT | EXT | true | 106
106.2 | FIRST FLOOR | ART CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 106.2 | INT | INT | true | 106
107.1 | FIRST FLOOR | MOTOR RM. | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | 107.1 | EXT | EXT | true | 107
107.2 | FIRST FLOOR | MOTOR RM. | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 107.2 | INT | INT | true | 107
108.1 | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | 108.1 | EXT | EXT | true | 108
108.2 | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 108.2 | INT | INT | true | 108
109.1 | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | 109.1 | EXT | EXT | true | 109
109.2 | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 109.2 | INT | INT | true | 109
110 | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
111.1 | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 111.1 | INT | INT | true | 111
111.2 | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | 111.2 | UNKNOWN | UNKNOWN | true | 111
112.1 | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | 112.1 | EXT | EXT | true | 112
112.2 | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 112.2 | INT | INT | true | 112
113A | FIRST FLOOR | SWEET SHOP | SWC/GL | HM | 3'-0" | 7'-0" | E | SET 8.0 |  | CARD READER | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
113B | FIRST FLOOR | SWEET SHOP | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 9.0 |  | CARD READER | REPEATING
114 | FIRST FLOOR | CORRIDOR | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
115 | FIRST FLOOR | SHOWER RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 26.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
116 | FIRST FLOOR | NURSE'S OFFICE/LAB | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
116A | FIRST FLOOR | NURSE'S TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 28.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
118 | FIRST FLOOR | OT/PT OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
119 | FIRST FLOOR | STG. | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
120 | FIRST FLOOR | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
121 | FIRST FLOOR | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
122 | FIRST FLOOR | B. TOILETS | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
123 | FIRST FLOOR | JAN. CL. | SCW | HM | 3'-0" | 7'-0" | A1 | SET 24.0 |  |  | REPEATING
124 | FIRST FLOOR | G. TOILETS | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
125 | FIRST FLOOR | SPRINKLER RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
126 | FIRST FLOOR | MECH./ELEC. RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 31.0 | 60 MIN |  | REPEATING
126A.1 | FIRST FLOOR | IT. CL. | SCW | HM | 3'-0" | 7'-0" | A1 | SET 25.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | 126A.1 | EXT | EXT | true | 126A
126A.2 | FIRST FLOOR | IT. CL. | SCW | HM | 3'-0" | 7'-0" | A1 | SET 25.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 126A.2 | INT | INT | true | 126A
200A | SECOND FL. SECOND FL. | CORRIDOR | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 23.0 |  |  | REPEATING
200B | SECOND FL. | CORRIDOR | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 32.0 |  |  | REPEATING
200C | SECOND FL. | STAIR #2 | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 11.0 | 60 MIN | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60, CARD READER | REPEATING
200D | SECOND FL. | CORRIDOR | SWC/GL | HM | 5'-8" | 7'-0" | G | SET 2.0 |  | REMOVABLE MULLION, CARD READER, DOOR ASSEMBLY TO FILL GAP BETWEEN (2) EXISTING WALLS ENSURE (1) DOOR LEAF | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
200E | SECOND FL. | ELEC. RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 39.0 | 60 MIN | IS 3'-0" WIDE MIN. | REPEATING
200F | SECOND FL. | LOBBY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 |  | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
200G | SECOND FL. | STAIR #1 | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 | 60 MIN | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
201.1 | SECOND FL. | ADL APARTMENT | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 201.1 | INT | INT | true | 201
201.2 | SECOND FL. | ADL APARTMENT | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | 201.2 | UNKNOWN | UNKNOWN | true | 201
203 | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
204 | SECOND FL. | VOCATIONAL LAB | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING
205 | SECOND FL. | SENSORY RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
206 | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
207 | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING
208 | SECOND FL. | BCBA OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
209 | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING
210.1 | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 210.1 | INT | INT | true | 210
210.2 | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | 210.2 | UNKNOWN | UNKNOWN | true | 210
211 | SECOND FL. | FACULTY RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
212 | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
213 | SECOND FL. | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
214 | SECOND FL. | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
215 | SECOND FL. | OBSERVATION RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
215A | SECOND FL. | SECLUSION RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 34.0 |  |  | REPEATING
216 | SECOND FL. | CONFERENCE RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
217 | SECOND FL. | CONFERENCE RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
218 | SECOND FL. | SHOWER RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 26.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
219 | SECOND FL. | MAIN OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
219A | SECOND FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
219B | SECOND FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
220 | SECOND FL. | STUDENT TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 27.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
221.1 | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | 221.1 | EXT | EXT | true | 221
221.2 | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 221.2 | INT | INT | true | 221
222 | SECOND FL. | STUDENT TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 27.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
223 | SECOND FL. | FITNESS RM. | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 4.0 |  | PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
223A | SECOND FL. | STG. | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
224 | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
225 | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
226 | SECOND FL. | B. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
227 | SECOND FL. | JAN. CL. | SCW | HM | 3'-0" | 7'-0" | A1 | SET 24.0 |  |  | REPEATING
228 | SECOND FL. | G. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
300D | THIRD FL. THIRD FL. | STAIR #2 | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 11.0 | 60 MIN | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60, CARD READER | REPEATING
300E | THIRD FL. | CORRIDOR | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 11.0 |  | CARD READER | REPEATING
301A | THIRD FL. | CORRIDOR | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 12.0 |  | CARD READER | REPEATING
301B | THIRD FL. | ELEC. RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 12.0 | 60 MIN |  | REPEATING
301C | THIRD FL. | LOBBY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 |  |  | REPEATING
301D | THIRD FL. | STAIR #1 | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 | 60 MIN | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
301E | THIRD FL. | LOBBY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 11.0 |  | CARD READER | REPEATING
301F | THIRD FL. | CORRIDOR | SWC/GL | HM | 2'-10" | 7'-0" | C | SET 11.0 |  | CARD READER | REPEATING
309 | THIRD FL. | SUPERINTENDENT OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
309A | THIRD FL. | TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 35.0 |  | ALTERNATE BID, TOILET ROOM TO HAVE 3/4" UNDERCUT | REPEATING
309B.1 | THIRD FL. | CL. | SCW | HM | 3'-0" | 7'-0" | A | SET 20.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 309B.1 | INT | INT | true | 309B
309B.2 | THIRD FL. | CL. | SCW | HM | 3'-0" | 7'-0" | A | SET 20.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | 309B.2 | UNKNOWN | UNKNOWN | true | 309B
310 | THIRD FL. | NP DIRECTORS OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
312 | THIRD FL. | SUPERVISOR OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
314 | THIRD FL. | SUPERVISOR OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
316 | THIRD FL. | BOOKEEPER OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
318 | THIRD FL. | SPEECH CONF. RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
320 | THIRD FL. | NP SPEECH OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
322 | THIRD FL. | NP SECRETARY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
324A | THIRD FL. | TRANSPORTATION OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  |  | REPEATING
324B | THIRD FL. | TRANSPORTATION OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 18.0 |  |  | REPEATING
325 | THIRD FL. | BREAK OUT ROOM | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | BASE BID: CARD READER, ALTERNATE BID: DOOR REPLACEMENT | REPEATING
326 | THIRD FL. | TRANSPORTATION OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
327 | THIRD FL. | IT RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | BASE BID: CARD READER, ALTERNATE BID: DOOR REPLACEMENT | REPEATING
331 | THIRD FL. | NP FILE RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | ALTERNATE BID | REPEATING
332A | THIRD FL. | TRANSPORTATION OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
332B | THIRD FL. | TRANSPORTATION OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 18.0 |  |  | REPEATING
333 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
334 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
335 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
336 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
337 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
338 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
339 | THIRD FL. | NP STG | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | ALTERNATE BID | REPEATING
340 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
341A | THIRD FL. | CL. | SCW | HM | 4'-5" | 7'-0" | I | SET 41.0 |  | ALTERNATE BID | REPEATING
342 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
344 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
345 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
346 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
347 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
348 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
348A | THIRD FL. | PROFESSIONAL LEARNING SPACE | SWC/GL | HM | 2'-10" | 7'-0" | C | SET 36.0 |  |  | REPEATING
348B | THIRD FL. | PROFESSIONAL LEARNING SPACE | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 37.0 |  |  | REPEATING
356 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  | ALTERNATE BID | REPEATING
356.1 | THIRD FL. | SUPERINTENDENT OFFICE | SCW | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
356A | THIRD FL. | CL. | SCW | HM | 5'-4" | 7'-0" | I | SET 41.0 |  | ALTERNATE BID | REPEATING
357.1 | THIRD FL. | STG. | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | ALTERNATE BID | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | 357.1 | EXT | EXT | true | 357
357.2 | THIRD FL. | STG. | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | ALTERNATE BID | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 357.2 | INT | INT | true | 357
357A | THIRD FL. | LOBBY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  |  | REPEATING
357B | THIRD FL. |  | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  |  | REPEATING
358 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
360 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
362 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
363A | THIRD FL. | SUPERINTENDENT CONFERENCE RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 41.0 |  | BASE BID: CARD READER, ALTERNATE BID: DOOR REPLACEMENT | REPEATING
363B | THIRD FL. | SUPERINTENDENT CONFERENCE RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | BASE BID: CARD READER, ALTERNATE BID: DOOR REPLACEMENT | REPEATING
364.1 | THIRD FL. | CORRIDOR | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | CARD READER | REPEATING | Door Bifurcated on basis of wall type (INT) |  | 364.1 | INT | INT | true | 364
364.2 | THIRD FL. | CORRIDOR | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | CARD READER | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | 364.2 | UNKNOWN | UNKNOWN | true | 364
366 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | CARD READER | REPEATING
367 | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | CARD READER | REPEATING
367A | THIRD FL. | UTILITY RM. | SCW | HM | 6'-0" | 7'-0" | I | SET 42.0 |  |  | REPEATING
368 | THIRD FL. | W. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
369 | THIRD FL. | M. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
369A | THIRD FL. | CORRIDOR | SCW | HM | 2'-4" | 7'-0" | A1 | SET 24.0 |  |  | REPEATING
371 | THIRD FL. | NP COPY RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
372 | THIRD FL. | NP SECRETARY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING

## ESTIMATION SCHEDULE
QTY | MARKS | LOCATION | ESTIMATOR NOTES | FLOOR NO | OPENING MODE | INT/EXT | FLOOR | ROOM | DOOR TYPE | FRAME TYPE | DOOR WIDTH | DOOR HEIGHT | ELEVATION | HARDWARE GROUP NO | FIRE RATING | COMMENTS | SECTION | Takeoff Notes | excluded | Wall Type | WALL TYPE | is_bifurcated | original_tag | is_borderline | review_reason
1 | 100A | SECURE VESTIBULE |  | 1 |  |  | FIRST FLOOR | SECURE VESTIBULE | AFRP/GL | AL | 6'-0" | 7'-0" | G | SET 1.0 |  | CARD READER, PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 100A | SECURE VESTIBULE |  | 1 |  |  | FIRST FLOOR | SECURE VESTIBULE | AFRP/GL | AL | 6'-0" | 7'-0" | G | SET 1.0 |  | CARD READER, PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 100B | CR COM ALIGN |  | 1 |  |  | FIRST FLOOR | SECURE VESTIBULE | AFRP/GL | AL | 6'-0" | 7'-0" | G | SET 2.0 |  | CARD READER, PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 100C | CORRIDOR |  | 1 |  |  | FIRST FLOOR | VESTIBULE/LOBBY | SWC/GL | HM | 6'-0" | 7'-0" | G | SET 7.0 |  | CARD READER, PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 100C | CORRIDOR |  | 1 |  |  | FIRST FLOOR | VESTIBULE/LOBBY | SWC/GL | HM | 6'-0" | 7'-0" | G | SET 7.0 |  | CARD READER, PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 100C | CORRIDOR |  | 1 |  |  | FIRST FLOOR | VESTIBULE/LOBBY | SWC/GL | HM | 6'-0" | 7'-0" | G | SET 7.0 |  | CARD READER, PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 100D | G. TOILETS |  | 1 | PR | Interior | FIRST FLOOR | CORRIDOR | SWC/GL | HM | 7'-0" | 7'-0" | H | SET 13.0 | 60 MIN | MAGNETIC HOLD OPEN, GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
1 | 100E | G. TOILETS |  | 1 | SGL | Interior | FIRST FLOOR | CORRIDOR | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 11.0 | 60 MIN | MAGNETIC HOLD GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
1 | 100F | Unknown |  | 1 | PR | Interior | FIRST FLOOR | CORRIDOR | SWC/GL | HM | 7'-0" | 7'-0" | H | SET 14.0 | 60 MIN | MAGNETIC HOLD GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
1 | 100G | Unknown |  | 1 | PR | Interior | FIRST FLOOR | CORRIDOR | SWC/GL | HM | 7'-0" | 7'-0" | H | SET 14.0 | 60 MIN | MAGNETIC HOLD OPEN, GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
1 | 100H | CR COM |  | 1 | SGL | Interior | FIRST FLOOR | VESTIBULE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 5.0 |  | CARD READER | REPEATING
1 | 100H.1 | EXIT #B1 |  | 1 |  |  | FIRST FLOOR | VESTIBULE | AFRP/GL | HM | 2'-10" | 7'-0" | C | SET 6.0 | 60 MIN | CARD READER, PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 100I | ELEV. MACHINE RM. |  | 1 | SGL | Interior | FIRST FLOOR | VESTIBULE/LOBBY | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 | 60 MIN |  | REPEATING
1 | 100J | ELEV. #2 |  | 1 | SGL | Interior | FIRST FLOOR | VESTIBULE/LOBBY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 |  |  | REPEATING
1 | 100K | Unknown |  | 1 | SGL | Exterior | FIRST FLOOR | STAIR #1 | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 | 60 MIN | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
0 | 101.1 |  |  | 1 |  |  | FIRST FLOOR | MAIN OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 101
0 | 101.2 |  |  | 1 |  |  | FIRST FLOOR | MAIN OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | UNKNOWN | UNKNOWN | true | 101
1 | 101A | Supervisor of Instruction |  | 1 | SGL | Interior | FIRST FLOOR | SUPERVISOR OF INSTRUCTION | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 17.0 |  |  | REPEATING
1 | 101A | SUPERVISOR OF INSTRUCTION |  | 1 | SGL | Interior | FIRST FLOOR | SUPERVISOR OF INSTRUCTION | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 17.0 |  |  | REPEATING
1 | 101B | Unknown |  | 1 | SGL | Interior | FIRST FLOOR | SUPERVISOR OF BCBA | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 17.0 |  |  | REPEATING
1 | 101B | SUPERVISOR OF BCBA |  | 1 | SGL | Interior | FIRST FLOOR | SUPERVISOR OF BCBA | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 17.0 |  |  | REPEATING
1 | 101C | Principal's Office |  | 1 | SGL | Interior | FIRST FLOOR | PRINICPAL'S OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 17.0 |  |  | REPEATING
1 | 101D | CONFERENCE ROOM |  | 1 |  |  | FIRST FLOOR | CONFERENCE ROOM | SWC/GL | HM | 3'-0" | 7'-0" | E.1 | SET 17.0 |  |  | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 101D | CONFERENCE ROOM |  | 1 |  |  | FIRST FLOOR | CONFERENCE ROOM | SWC/GL | HM | 3'-0" | 7'-0" | E.1 | SET 17.0 |  |  | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 102 | FACULTY DINING/WORK RM. |  | 1 | SGL | Interior | FIRST FLOOR | FACULTY DINING/ WORK RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 102 | CORRIDOR |  | 1 | SGL | Interior | FIRST FLOOR | FACULTY DINING/ WORK RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 103 | SOCIAL WORK OFFICE |  | 1 | SGL | Interior | FIRST FLOOR | SOCIAL WORK OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 103 | SOCIAL WORK OFFICE |  | 1 | SGL | Interior | FIRST FLOOR | SOCIAL WORK OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 103A | CL. |  | 1 | SGL | Interior | FIRST FLOOR | CL. | SCW | HM | 3'-0" | 7'-0" | A | SET 19.0 |  |  | REPEATING
1 | 103A | CL. |  | 1 | SGL | Interior | FIRST FLOOR | CL. | SCW | HM | 3'-0" | 7'-0" | A | SET 19.0 |  |  | REPEATING
1 | 104 | SLP SUITE |  | 1 | SGL | Interior | FIRST FLOOR | SLP SUITE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 104 | SLP SUITE |  | 1 | SGL | Interior | FIRST FLOOR | SLP SUITE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
0 | 104A.1 |  |  | 1 |  |  | FIRST FLOOR | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | EXT | EXT | true | 104A
0 | 104A.2 |  |  | 1 |  |  | FIRST FLOOR | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 104A
1 | 104B | OFFICE |  | 1 | SGL | Interior | FIRST FLOOR | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
1 | 104B | OFFICE |  | 1 | SGL | Interior | FIRST FLOOR | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
1 | 104C | OFFICE |  | 1 | SGL | Interior | FIRST FLOOR | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
1 | 104C | OFFICE |  | 1 | SGL | Interior | FIRST FLOOR | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
1 | 105A | CAFETERIA STORAGE |  | 1 | SGL | Interior | FIRST FLOOR | CAFETERIA | SWC/GL | HM | 3'-0" | 7'-0" | C1 | SET 21.0 |  |  | REPEATING
1 | 105A | Warming Kitchen |  | 1 | SGL | Interior | FIRST FLOOR | CAFETERIA | SWC/GL | HM | 3'-0" | 7'-0" | C1 | SET 21.0 |  |  | REPEATING
1 | 105B | CAFETERIA STG. |  | 1 | SGL | Interior | FIRST FLOOR | CAFETERIA | SCW | HM | 3'-0" | 7'-0" | A | SET 22.0 |  |  | REPEATING
1 | 105B | CAFETERIA STG. |  | 1 | SGL | Interior | FIRST FLOOR | CAFETERIA | SCW | HM | 3'-0" | 7'-0" | A | SET 22.0 |  |  | REPEATING
1 | 105D | Office |  | 1 | PR | Interior | FIRST FLOOR | CAFETERIA | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 23.0 |  |  | REPEATING
0 | 105E |  |  | 1 |  |  | FIRST FLOOR | CAFETERIA | AFRP/GL | AL | 3'-7" | 7'-0" | C | SET 3.0 |  | GC TO COORDINATE DOOR WIDTH WITH EXISTING STOREFRONT CONDITION AND MULLION SPACING, TYP. | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true |  |  |  |  | true | mark_not_located_on_drawing
0 | 106.1 |  |  | 1 |  |  | FIRST FLOOR | ART CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | EXT | EXT | true | 106
0 | 106.2 |  |  | 1 |  |  | FIRST FLOOR | ART CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 106
0 | 107.1 |  |  | 1 |  |  | FIRST FLOOR | MOTOR RM. | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | EXT | EXT | true | 107
0 | 107.2 |  |  | 1 |  |  | FIRST FLOOR | MOTOR RM. | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 107
0 | 108.1 |  |  | 1 |  |  | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | EXT | EXT | true | 108
0 | 108.2 |  |  | 1 |  |  | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 108
0 | 109.1 |  |  | 1 |  |  | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | EXT | EXT | true | 109
0 | 109.2 |  |  | 1 |  |  | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 109
1 | 110 | Unknown |  | 1 | SGL | Interior | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
1 | 110 | Unknown |  | 1 | SGL | Interior | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
0 | 111.1 |  |  | 1 |  |  | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 111
0 | 111.2 |  |  | 1 |  |  | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | UNKNOWN | UNKNOWN | true | 111
0 | 112.1 |  |  | 1 |  |  | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | EXT | EXT | true | 112
0 | 112.2 |  |  | 1 |  |  | FIRST FLOOR | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 112
1 | 113A | Unknown |  | 1 |  |  | FIRST FLOOR | SWEET SHOP | SWC/GL | HM | 3'-0" | 7'-0" | E | SET 8.0 |  | CARD READER | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 113B | Unknown |  | 1 | SGL | Interior | FIRST FLOOR | SWEET SHOP | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 9.0 |  | CARD READER | REPEATING
1 | 114 | SHOWER ROOM |  | 1 | SGL | Interior | FIRST FLOOR | CORRIDOR | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
1 | 114 | CORRIDOR |  | 1 | SGL | Interior | FIRST FLOOR | CORRIDOR | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
1 | 115 | SHOWER RM. |  | 1 | SGL | Interior | FIRST FLOOR | SHOWER RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 26.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 115 | SHOWER RM. |  | 1 | SGL | Interior | FIRST FLOOR | SHOWER RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 26.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 116 | NURSE'S OFFICE/LAB |  | 1 | SGL | Interior | FIRST FLOOR | NURSE'S OFFICE/LAB | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 116 | Corridor |  | 1 | SGL | Interior | FIRST FLOOR | NURSE'S OFFICE/LAB | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 116A | Nurse's Tech |  | 1 | SGL | Interior | FIRST FLOOR | NURSE'S TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 28.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 116A | Nurse's Tech |  | 1 | SGL | Interior | FIRST FLOOR | NURSE'S TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 28.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 118 | Unknown |  | 1 | SGL | Interior | FIRST FLOOR | OT/PT OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 118 | OT/PT OFFICE |  | 1 | SGL | Interior | FIRST FLOOR | OT/PT OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 119 | OT/PT OFFICE |  | 1 | SGL | Interior | FIRST FLOOR | STG. | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
1 | 119 | STG. |  | 1 | SGL | Interior | FIRST FLOOR | STG. | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
1 | 120 | FAC. TL. |  | 1 | SGL | Interior | FIRST FLOOR | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 120 | FAC. TL. |  | 1 | SGL | Interior | FIRST FLOOR | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 121 | FAC. TL. |  | 1 | SGL | Interior | FIRST FLOOR | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 121 | PAIR #2 |  | 1 | SGL | Interior | FIRST FLOOR | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 122 | B. TOILETS |  | 1 | SGL | Interior | FIRST FLOOR | B. TOILETS | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 122 | B. TOILET |  | 1 | SGL | Interior | FIRST FLOOR | B. TOILETS | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 123 | JAN. CL. |  | 1 | SGL | Interior | FIRST FLOOR | JAN. CL. | SCW | HM | 3'-0" | 7'-0" | A1 | SET 24.0 |  |  | REPEATING
1 | 123 | JAN. CL. |  | 1 | SGL | Interior | FIRST FLOOR | JAN. CL. | SCW | HM | 3'-0" | 7'-0" | A1 | SET 24.0 |  |  | REPEATING
1 | 124 | G. TOILETS |  | 1 | SGL | Interior | FIRST FLOOR | G. TOILETS | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 124 | G. TOILETS |  | 1 | SGL | Interior | FIRST FLOOR | G. TOILETS | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 125 | SEC. RM. |  | 1 | SGL | Interior | FIRST FLOOR | SPRINKLER RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
1 | 125 | SPRINKLER RM. |  | 1 | SGL | Interior | FIRST FLOOR | SPRINKLER RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
1 | 126 | MECH./ELEC. |  | 1 | SGL | Interior | FIRST FLOOR | MECH./ELEC. RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 31.0 | 60 MIN |  | REPEATING
1 | 126 | MECH./ELEC. RM. |  | 1 | SGL | Interior | FIRST FLOOR | MECH./ELEC. RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 31.0 | 60 MIN |  | REPEATING
0 | 126A.1 |  |  | 1 |  |  | FIRST FLOOR | IT. CL. | SCW | HM | 3'-0" | 7'-0" | A1 | SET 25.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | EXT | EXT | true | 126A
0 | 126A.2 |  |  | 1 |  |  | FIRST FLOOR | IT. CL. | SCW | HM | 3'-0" | 7'-0" | A1 | SET 25.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 126A
1 | 200A | CORRIDOR |  | 2 | PR | Interior | SECOND FL. SECOND FL. | CORRIDOR | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 23.0 |  |  | REPEATING
1 | 200A | CORRIDOR |  | 2 | PR | Interior | SECOND FL. SECOND FL. | CORRIDOR | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 23.0 |  |  | REPEATING
1 | 200A | MAIN OFFICE |  | 2 | PR | Interior | SECOND FL. SECOND FL. | CORRIDOR | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 23.0 |  |  | REPEATING
1 | 200A | CORRIDOR |  | 2 | PR | Interior | SECOND FL. SECOND FL. | CORRIDOR | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 23.0 |  |  | REPEATING
1 | 200A | CORRIDOR |  | 2 | PR | Interior | SECOND FL. SECOND FL. | CORRIDOR | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 23.0 |  |  | REPEATING
1 | 200B | 200B |  | 2 | PR | Interior | SECOND FL. | CORRIDOR | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 32.0 |  |  | REPEATING
1 | 200B | CORRIDOR |  | 2 | PR | Interior | SECOND FL. | CORRIDOR | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 32.0 |  |  | REPEATING
1 | 200C | Unknown |  | 2 | SGL | Exterior | SECOND FL. | STAIR #2 | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 11.0 | 60 MIN | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60, CARD READER | REPEATING
1 | 200D | CORRIDOR |  | 2 |  |  | SECOND FL. | CORRIDOR | SWC/GL | HM | 5'-8" | 7'-0" | G | SET 2.0 |  | REMOVABLE MULLION, CARD READER, DOOR ASSEMBLY TO FILL GAP BETWEEN (2) EXISTING WALLS ENSURE (1) DOOR LEAF | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 200E | Unknown |  | 2 | SGL | Exterior | SECOND FL. | ELEC. RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 39.0 | 60 MIN | IS 3'-0" WIDE MIN. | REPEATING
1 | 200F | OFFICE 219A |  | 2 | SGL | Interior | SECOND FL. | LOBBY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 |  | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
1 | 200G | STAIR #1 |  | 2 | SGL | Interior | SECOND FL. | STAIR #1 | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 | 60 MIN | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
0 | 201.1 |  |  | 2 |  |  | SECOND FL. | ADL APARTMENT | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 201
0 | 201.2 |  |  | 2 |  |  | SECOND FL. | ADL APARTMENT | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | UNKNOWN | UNKNOWN | true | 201
1 | 203 | CLASSROOM |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
1 | 203 | Unknown |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
1 | 204 | CORRIDOR |  | 2 | SGL | Interior | SECOND FL. | VOCATIONAL LAB | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING
1 | 205 | SENSORY RM. |  | 2 | SGL | Interior | SECOND FL. | SENSORY RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 205 | Unknown |  | 2 | SGL | Interior | SECOND FL. | SENSORY RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 206 | CLASSROOM |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
1 | 206 | Unknown |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
1 | 207 | CLASSROOM |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING
1 | 207 | Unknown |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING
1 | 208 | BCBA OFFICE |  | 2 | SGL | Interior | SECOND FL. | BCBA OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 208 | DATA OFFICE |  | 2 | SGL | Interior | SECOND FL. | BCBA OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 209 | CLASSROOM |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING
1 | 209 | Unknown |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 15.0 |  |  | REPEATING
0 | 210.1 |  |  | 2 |  |  | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 210
0 | 210.2 |  |  | 2 |  |  | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | UNKNOWN | UNKNOWN | true | 210
1 | 211 | Faculty RM. |  | 2 | SGL | Interior | SECOND FL. | FACULTY RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 211 | CORRIDOR |  | 2 | SGL | Interior | SECOND FL. | FACULTY RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 212 | Unknown |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
1 | 212 | CLASSROOM |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
1 | 213 | FAC. TL. |  | 2 | SGL | Interior | SECOND FL. | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 213 | FAC. TL. |  | 2 | SGL | Interior | SECOND FL. | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 214 | FAC. TL. |  | 2 | SGL | Interior | SECOND FL. | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 214 | FAC. TL. |  | 2 | SGL | Interior | SECOND FL. | FAC. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 29.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 215 | Observation Rm. |  | 2 | SGL | Interior | SECOND FL. | OBSERVATION RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 215 | CORRIDOR |  | 2 | SGL | Interior | SECOND FL. | OBSERVATION RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 215A | SECLUSION RM. |  | 2 | SGL | Interior | SECOND FL. | SECLUSION RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 34.0 |  |  | REPEATING
1 | 215A | Observation RM. |  | 2 | SGL | Interior | SECOND FL. | SECLUSION RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 34.0 |  |  | REPEATING
1 | 216 | 216 |  | 2 | SGL | Interior | SECOND FL. | CONFERENCE RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 216 | CONFERENCE RM. |  | 2 | SGL | Interior | SECOND FL. | CONFERENCE RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 217 | Conference Room 217 |  | 2 | SGL | Interior | SECOND FL. | CONFERENCE RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 217 | CONFERENCE RM. |  | 2 | SGL | Interior | SECOND FL. | CONFERENCE RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 218 | SHOWER RM. |  | 2 | SGL | Interior | SECOND FL. | SHOWER RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 26.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 218 | Unknown |  | 2 | SGL | Interior | SECOND FL. | SHOWER RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 26.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 219 | MAIN OFFICE |  | 2 | SGL | Interior | SECOND FL. | MAIN OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 219 | Unknown |  | 2 | SGL | Interior | SECOND FL. | MAIN OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 16.0 |  |  | REPEATING
1 | 219A | MAIN OFFICE |  | 2 | SGL | Interior | SECOND FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
1 | 219A | OFFICE |  | 2 | SGL | Interior | SECOND FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
1 | 219B | MAIN OFFICE |  | 2 | SGL | Interior | SECOND FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
1 | 219B | MAIN OFFICE |  | 2 | SGL | Interior | SECOND FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
1 | 220 | STUDENT |  | 2 | SGL | Interior | SECOND FL. | STUDENT TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 27.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 220 | STUDENT |  | 2 | SGL | Interior | SECOND FL. | STUDENT TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 27.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
0 | 221.1 |  |  | 2 |  |  | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | EXT | EXT | true | 221
0 | 221.2 |  |  | 2 |  |  | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 221
1 | 222 | STUDENT TL. |  | 2 | SGL | Interior | SECOND FL. | STUDENT TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 27.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 222 | Corridor |  | 2 | SGL | Interior | SECOND FL. | STUDENT TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 27.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 223 | FITNESS RM. |  | 2 |  |  | SECOND FL. | FITNESS RM. | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 4.0 |  | PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 223 | Corridor |  | 2 |  |  | SECOND FL. | FITNESS RM. | SWC/GL | HM | 6'-0" | 7'-0" | F | SET 4.0 |  | PART OF STOREFRONT SYSTEM | REPEATING | Door Excluded. Storefront/aluminum system. Material: | true
1 | 223A | STG. |  | 2 | SGL | Interior | SECOND FL. | STG. | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
1 | 223A | FAC. TL. |  | 2 | SGL | Interior | SECOND FL. | STG. | SCW | HM | 3'-0" | 7'-0" | A | SET 24.0 |  |  | REPEATING
1 | 224 | Unknown |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
1 | 224 | Unknown |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
1 | 225 | Unknown |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
1 | 225 | CLASSROOM |  | 2 | SGL | Interior | SECOND FL. | CLASSROOM | SWC/GL | HM | 3'-0" | 7'-0" | B | SET 16.0 |  |  | REPEATING
1 | 226 | B. TL. |  | 2 | SGL | Interior | SECOND FL. | B. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 226 | B. TL. |  | 2 | SGL | Interior | SECOND FL. | B. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 227 | JAN. CL. |  | 2 | SGL | Interior | SECOND FL. | JAN. CL. | SCW | HM | 3'-0" | 7'-0" | A1 | SET 24.0 |  |  | REPEATING
1 | 227 | JAN. CL. |  | 2 | SGL | Interior | SECOND FL. | JAN. CL. | SCW | HM | 3'-0" | 7'-0" | A1 | SET 24.0 |  |  | REPEATING
1 | 228 | JAN. CL. |  | 2 | SGL | Interior | SECOND FL. | G. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 228 | JAN. CL. |  | 2 | SGL | Interior | SECOND FL. | G. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 300D | CORRIDOR |  | 3 | SGL | Interior | THIRD FL. THIRD FL. | STAIR #2 | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 11.0 | 60 MIN | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60, CARD READER | REPEATING
1 | 300D | CORRIDOR |  | 3 | SGL | Interior | THIRD FL. THIRD FL. | STAIR #2 | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 11.0 | 60 MIN | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60, CARD READER | REPEATING
1 | 300E | CR |  | 3 | SGL | Interior | THIRD FL. | CORRIDOR | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 11.0 |  | CARD READER | REPEATING
1 | 301A | Unknown |  | 3 | SGL | Interior | THIRD FL. | CORRIDOR | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 12.0 |  | CARD READER | REPEATING
1 | 301B | LOBBY |  | 3 | SGL | Interior | THIRD FL. | ELEC. RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 12.0 | 60 MIN |  | REPEATING
1 | 301C | Unknown |  | 3 | SGL | Interior | THIRD FL. | LOBBY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 |  |  | REPEATING
1 | 301D | STAIR #1 |  | 3 | SGL | Interior | THIRD FL. | STAIR #1 | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 31.0 | 60 MIN | GLAZING TO HAVE A FIRE ENDURANCE RATING OF D-H-T-W-60 | REPEATING
1 | 301E | Unknown |  | 3 | SGL | Interior | THIRD FL. | LOBBY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 11.0 |  | CARD READER | REPEATING
1 | 301F | ROOM 325 |  | 3 | SGL | Interior | THIRD FL. | CORRIDOR | SWC/GL | HM | 2'-10" | 7'-0" | C | SET 11.0 |  | CARD READER | REPEATING
1 | 309 | Unknown |  | 3 | SGL | Interior | THIRD FL. | SUPERINTENDENT OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 309 | SUPERINTENDENT OFFICE |  | 3 | SGL | Interior | THIRD FL. | SUPERINTENDENT OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 309 | Unknown |  | 3 | SGL | Interior | THIRD FL. | SUPERINTENDENT OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 309A | TL. 309A |  | 3 | SGL | Interior | THIRD FL. | TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 35.0 |  | ALTERNATE BID, TOILET ROOM TO HAVE 3/4" UNDERCUT | REPEATING
1 | 309A | TL. 309A |  | 3 | SGL | Interior | THIRD FL. | TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 35.0 |  | ALTERNATE BID, TOILET ROOM TO HAVE 3/4" UNDERCUT | REPEATING
0 | 309B.1 |  |  | 3 |  |  | THIRD FL. | CL. | SCW | HM | 3'-0" | 7'-0" | A | SET 20.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 309B
0 | 309B.2 |  |  | 3 |  |  | THIRD FL. | CL. | SCW | HM | 3'-0" | 7'-0" | A | SET 20.0 |  |  | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | UNKNOWN | UNKNOWN | true | 309B
1 | 310 | NP DIRECTORS OFFICE |  | 3 | SGL | Interior | THIRD FL. | NP DIRECTORS OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 310 | NP DIRECTOR OFFICE |  | 3 | SGL | Interior | THIRD FL. | NP DIRECTORS OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 312 | Office 312 |  | 3 | SGL | Interior | THIRD FL. | SUPERVISOR OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 312 | SUPERVISOR OFFICE |  | 3 | SGL | Interior | THIRD FL. | SUPERVISOR OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 314 | SUPERVISOR OFFICE |  | 3 | SGL | Interior | THIRD FL. | SUPERVISOR OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 314 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | SUPERVISOR OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 316 | BOOKEEPER OFFICE |  | 3 | SGL | Interior | THIRD FL. | BOOKEEPER OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 316 | BOOKEEPING OFFICE |  | 3 | SGL | Interior | THIRD FL. | BOOKEEPER OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 318 | SPEECH CONF. RM. |  | 3 | SGL | Interior | THIRD FL. | SPEECH CONF. RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 318 | SPEECH CONSULTATION RM. |  | 3 | SGL | Interior | THIRD FL. | SPEECH CONF. RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 320 | NP SPEECH OFFICE |  | 3 | SGL | Interior | THIRD FL. | NP SPEECH OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 320 | NP SPEECH OFFICE |  | 3 | SGL | Interior | THIRD FL. | NP SPEECH OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 322 | NP SECRETARY |  | 3 | SGL | Interior | THIRD FL. | NP SECRETARY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 322 | NP SECRETARY |  | 3 | SGL | Interior | THIRD FL. | NP SECRETARY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 324A | TRANSPORTATION OFFICE |  | 3 | SGL | Interior | THIRD FL. | TRANSPORTATION OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  |  | REPEATING
1 | 324B | TRANSPORTATION OFFICE |  | 3 | SGL | Interior | THIRD FL. | TRANSPORTATION OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 18.0 |  |  | REPEATING
1 | 325 | BREAK OUT ROOM |  | 3 | SGL | Interior | THIRD FL. | BREAK OUT ROOM | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | BASE BID: CARD READER, ALTERNATE BID: DOOR REPLACEMENT | REPEATING
1 | 325 | BREAK OUT ROOM |  | 3 | SGL | Interior | THIRD FL. | BREAK OUT ROOM | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | BASE BID: CARD READER, ALTERNATE BID: DOOR REPLACEMENT | REPEATING
1 | 326 | Transportation Office |  | 3 | SGL | Interior | THIRD FL. | TRANSPORTATION OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 326 | TRANSPORTATION OFFICE |  | 3 | SGL | Interior | THIRD FL. | TRANSPORTATION OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 327 | IT RM. |  | 3 | SGL | Interior | THIRD FL. | IT RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | BASE BID: CARD READER, ALTERNATE BID: DOOR REPLACEMENT | REPEATING
1 | 327 | IT RM. |  | 3 | SGL | Interior | THIRD FL. | IT RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | BASE BID: CARD READER, ALTERNATE BID: DOOR REPLACEMENT | REPEATING
1 | 331 | NP FILE RM. |  | 3 | SGL | Interior | THIRD FL. | NP FILE RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | ALTERNATE BID | REPEATING
1 | 331 | NP FILE RM. |  | 3 | SGL | Interior | THIRD FL. | NP FILE RM. | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | ALTERNATE BID | REPEATING
1 | 332A | TRANSPORTATION OFFICE |  | 3 | SGL | Interior | THIRD FL. | TRANSPORTATION OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 15.0 |  |  | REPEATING
1 | 332B | TRANSPORTATION OFFICE |  | 3 | SGL | Interior | THIRD FL. | TRANSPORTATION OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 18.0 |  |  | REPEATING
1 | 333 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 333 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 334 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 335 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 335 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 336 | OFFICE 336 |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 337 | Office 337 |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 337 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 338 | Office 338 |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 339 | NP STG |  | 3 | SGL | Interior | THIRD FL. | NP STG | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | ALTERNATE BID | REPEATING
1 | 339 | Office 366 |  | 3 | SGL | Interior | THIRD FL. | NP STG | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | ALTERNATE BID | REPEATING
1 | 340 | 340 |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 341A | Office 347 |  | 3 | PR | Interior | THIRD FL. | CL. | SCW | HM | 4'-5" | 7'-0" | I | SET 41.0 |  | ALTERNATE BID | REPEATING
1 | 341A | Office 347 |  | 3 | PR | Interior | THIRD FL. | CL. | SCW | HM | 4'-5" | 7'-0" | I | SET 41.0 |  | ALTERNATE BID | REPEATING
1 | 342 | CORRIDOR |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 342 | OFFICE 342 |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 344 | CORRIDOR |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 344 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 345 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 345 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 346 | Office 346 |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 346 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 347 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 347 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 348 | PROFESSIONAL LEARNING SPACE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 348 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 348A | NP COPY RM. |  | 3 | SGL | Interior | THIRD FL. | PROFESSIONAL LEARNING SPACE | SWC/GL | HM | 2'-10" | 7'-0" | C | SET 36.0 |  |  | REPEATING
1 | 348B | Unknown |  | 3 | SGL | Interior | THIRD FL. | PROFESSIONAL LEARNING SPACE | SWC/GL | HM | 3'-0" | 7'-0" | D | SET 37.0 |  |  | REPEATING
1 | 356 | Office 356 |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  | ALTERNATE BID | REPEATING
1 | 356 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 17.0 |  | ALTERNATE BID | REPEATING
1 | 356.1 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | SUPERINTENDENT OFFICE | SCW | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
1 | 356.1 | Unknown |  | 3 | SGL | Interior | THIRD FL. | SUPERINTENDENT OFFICE | SCW | HM | 3'-0" | 7'-0" | C | SET 17.0 |  |  | REPEATING
1 | 356A | Office 356 |  | 3 | PR | Interior | THIRD FL. | CL. | SCW | HM | 5'-4" | 7'-0" | I | SET 41.0 |  | ALTERNATE BID | REPEATING
1 | 356A | CORRIDOR |  | 3 | PR | Interior | THIRD FL. | CL. | SCW | HM | 5'-4" | 7'-0" | I | SET 41.0 |  | ALTERNATE BID | REPEATING
0 | 357.1 |  |  | 3 |  |  | THIRD FL. | STG. | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | ALTERNATE BID | REPEATING | Door Bifurcated on basis of wall type (EXT) |  | EXT | EXT | true | 357
0 | 357.2 |  |  | 3 |  |  | THIRD FL. | STG. | SCW | HM | 3'-0" | 7'-0" | A | SET 41.0 |  | ALTERNATE BID | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 357
1 | 357A | Unknown |  | 3 | SGL | Interior | THIRD FL. | LOBBY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  |  | REPEATING
1 | 357B | Unknown |  | 3 | SGL | Interior | THIRD FL. |  | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  |  | REPEATING
1 | 358 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 358 | Office 358 |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 360 | Office |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 360 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 362 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 362 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 363A | Unknown |  | 3 | SGL | Interior | THIRD FL. | SUPERINTENDENT CONFERENCE RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 41.0 |  | BASE BID: CARD READER, ALTERNATE BID: DOOR REPLACEMENT | REPEATING
1 | 363B | Unknown |  | 3 | SGL | Interior | THIRD FL. | SUPERINTENDENT CONFERENCE RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | BASE BID: CARD READER, ALTERNATE BID: DOOR REPLACEMENT | REPEATING
0 | 364.1 |  |  | 3 |  |  | THIRD FL. | CORRIDOR | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | CARD READER | REPEATING | Door Bifurcated on basis of wall type (INT) |  | INT | INT | true | 364
0 | 364.2 |  |  | 3 |  |  | THIRD FL. | CORRIDOR | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | CARD READER | REPEATING | Door Bifurcated on basis of wall type (UNKNOWN) |  | UNKNOWN | UNKNOWN | true | 364
1 | 366 | CORRIDOR |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | CARD READER | REPEATING
1 | 366 | OFFICE |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | CARD READER | REPEATING
1 | 367 | CORRIDOR |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | CARD READER | REPEATING
1 | 367 | Office |  | 3 | SGL | Interior | THIRD FL. | OFFICE | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 10.0 |  | CARD READER | REPEATING
1 | 367A | UTILITY RM. |  | 3 | PR | Interior | THIRD FL. | UTILITY RM. | SCW | HM | 6'-0" | 7'-0" | I | SET 42.0 |  |  | REPEATING
1 | 367A | UTILITY RM. |  | 3 | PR | Interior | THIRD FL. | UTILITY RM. | SCW | HM | 6'-0" | 7'-0" | I | SET 42.0 |  |  | REPEATING
1 | 368 | CORRIDOR |  | 3 | SGL | Interior | THIRD FL. | W. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 368 | W. TL. |  | 3 | SGL | Interior | THIRD FL. | W. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 369 | M. TL. |  | 3 | SGL | Interior | THIRD FL. | M. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 369 | M. TL. |  | 3 | SGL | Interior | THIRD FL. | M. TL. | SCW | HM | 3'-0" | 7'-0" | A | SET 30.0 |  | ALL TOILET AND SHOWER ROOMS TO HAVE 3/4" UNDERCUT | REPEATING
1 | 369A | JAN. CL. |  | 3 | SGL | Interior | THIRD FL. | CORRIDOR | SCW | HM | 2'-4" | 7'-0" | A1 | SET 24.0 |  |  | REPEATING
1 | 369A | JAN. CL. |  | 3 | SGL | Interior | THIRD FL. | CORRIDOR | SCW | HM | 2'-4" | 7'-0" | A1 | SET 24.0 |  |  | REPEATING
1 | 371 | NP COPY RM. |  | 3 | SGL | Interior | THIRD FL. | NP COPY RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 371 | NP COPY RM. |  | 3 | SGL | Interior | THIRD FL. | NP COPY RM. | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 372 | NP SECRETARY |  | 3 | SGL | Interior | THIRD FL. | NP SECRETARY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING
1 | 372 | NP SECRETARY |  | 3 | SGL | Interior | THIRD FL. | NP SECRETARY | SWC/GL | HM | 3'-0" | 7'-0" | C | SET 40.0 |  | ALTERNATE BID | REPEATING